## Sheet1
Triple axis / TOF inelastic scattering allowed region calculator
Assume lambda_i is fixed; assume only constraints on lambda_f are due to analyzer angles
Enter parameters here: | [5 empty] | Derived parameters (do not edit):
lambda_i= | 1.1676 | A | incident (fixed) wavelength |  |  | dEmin= | -60.0019 | meV | maximum energy transfer (set to -Ei)
phi_min= | 5 | ° | minimum sample scatt. angle |  |  | dEmax= | 57.5858 | meV | minimum energy transfer
phi_max= | 85 | ° | maximum sample scatt. Angle |  |  | ki= | 5.3813 | A-1 | outgoing wavevector
ana_min= | 10 | ° | minimum analyzer angle |  |  | Ei= | 60.0019 | meV | incident energy
ana_max= | 120 | ° | maximun analyzer angle |  |  | Ef_min= | 2.4161 | meV | minimum final energy
d_anax= | 3.3595 | A | d-spacing of analyzer |  |  | Ef_max= | 238.5686 | meV | maximum final energy
| (PG002 = 3.35951 A) |  |  |  |  | lamf_max= | 0.58556 | A | maximum final wavelength
| 0.70655 |  |  |  |  | lamf_min= | 5.8186 | A | minimum final wavelength
[5 empty] | 5 | 85
-100 |  |  |  | -60.0019 | 2.2978 | 8.929
-98 |  |  |  | -60.0019 | 2.2978 | 8.929
-96 |  |  |  | -60.0019 | 2.2978 | 8.929
-94 |  |  |  | -60.0019 | 2.2978 | 8.929
-92 |  |  |  | -60.0019 | 2.2978 | 8.929
-90 |  |  |  | -60.0019 | 2.2978 | 8.929
-88 |  |  |  | -60.0019 | 2.2978 | 8.929
-86 |  |  |  | -60.0019 | 2.2978 | 8.929
-84 |  |  |  | -60.0019 | 2.2978 | 8.929
-82 |  |  |  | -60.0019 | 2.2978 | 8.929
-80 |  |  |  | -60.0019 | 2.2978 | 8.929
-78 |  |  |  | -60.0019 | 2.2978 | 8.929
-76 |  |  |  | -60.0019 | 2.2978 | 8.929
-74 |  |  |  | -60.0019 | 2.2978 | 8.929
-72 |  |  |  | -60.0019 | 2.2978 | 8.929
-70 |  |  |  | -60.0019 | 2.2978 | 8.929
-68 |  |  |  | -60.0019 | 2.2978 | 8.929
-66 |  |  |  | -60.0019 | 2.2978 | 8.929
-64 |  |  |  | -60.0019 | 2.2978 | 8.929
-62 |  |  |  | -60.0019 | 2.2978 | 8.929
-60 |  |  |  | -60 | 2.2978 | 8.929
-58 |  |  |  | -58 | 2.2355 | 8.8781
-56 |  |  |  | -56 | 2.1727 | 8.827
-54 |  |  |  | -54 | 2.1095 | 8.7756
-52 |  |  |  | -52 | 2.0458 | 8.724
-50 |  |  |  | -50 | 1.9817 | 8.6721
-48 |  |  |  | -48 | 1.9171 | 8.6199
-46 |  |  |  | -46 | 1.8521 | 8.5674
-44 |  |  |  | -44 | 1.7866 | 8.5146
-42 |  |  |  | -42 | 1.7206 | 8.4615
-40 |  |  |  | -40 | 1.6542 | 8.4081
-38 |  |  |  | -38 | 1.5874 | 8.3545
-36 |  |  |  | -36 | 1.5201 | 8.3005
-34 |  |  |  | -34 | 1.4525 | 8.2462
-32 |  |  |  | -32 | 1.3845 | 8.1916
-30 |  |  |  | -30 | 1.3162 | 8.1367
-28 |  |  |  | -28 | 1.2477 | 8.0814
-26 |  |  |  | -26 | 1.179 | 8.0258
-24 |  |  |  | -24 | 1.1103 | 7.9699
-22 |  |  |  | -22 | 1.0416 | 7.9137
-20 |  |  |  | -20 | 0.97332 | 7.8571
-18 |  |  |  | -18 | 0.9056 | 7.8001
-16 |  |  |  | -16 | 0.83887 | 7.7428
-14 |  |  |  | -14 | 0.77365 | 7.6851
-12 |  |  |  | -12 | 0.71068 | 7.627
-10 |  |  |  | -10 | 0.651 | 7.5686
-8 |  |  |  | -8 | 0.59603 | 7.5098
-6 |  |  |  | -6 | 0.54771 | 7.4506
-4 |  |  |  | -4 | 0.50854 | 7.391
-2 |  |  |  | -2 | 0.48145 | 7.3311
0 |  |  |  | 0 | 0.4693 | 7.2707
2 |  |  |  | 2 | 0.47404 | 7.2099
4 |  |  |  | 4 | 0.49604 | 7.1487
6 |  |  |  | 6 | 0.53402 | 7.087
8 |  |  |  | 8 | 0.58573 | 7.025
10 |  |  |  | 10 | 0.64873 | 6.9625
12 |  |  |  | 12 | 0.7209 | 6.8996
14 |  |  |  | 14 | 0.8006 | 6.8363
16 |  |  |  | 16 | 0.88663 | 6.7725
18 |  |  |  | 18 | 0.97815 | 6.7083
20 |  |  |  | 20 | 1.0746 | 6.6436
22 |  |  |  | 22 | 1.1757 | 6.5785
24 |  |  |  | 24 | 1.2813 | 6.513
26 |  |  |  | 26 | 1.3913 | 6.447
28 |  |  |  | 28 | 1.5057 | 6.3806
30 |  |  |  | 30 | 1.6247 | 6.3138
32 |  |  |  | 32 | 1.7486 | 6.2466
34 |  |  |  | 34 | 1.8778 | 6.179
36 |  |  |  | 36 | 2.0127 | 6.1111
38 |  |  |  | 38 | 2.1538 | 6.0429
40 |  |  |  | 40 | 2.3021 | 5.9744
42 |  |  |  | 42 | 2.4584 | 5.9058
44 |  |  |  | 44 | 2.624 | 5.837
46 |  |  |  | 46 | 2.8008 | 5.7684
48 |  |  |  | 48 | 2.991 | 5.7
50 |  |  |  | 50 | 3.1983 | 5.6322
52 |  |  |  | 52 | 3.4279 | 5.5655
54 |  |  |  | 54 | 3.6888 | 5.5006
56 |  |  |  | 56 | 3.9986 | 5.4392
58 |  |  |  | 57.5858 | 4.3066 | 5.3954
60 |  |  |  | 57.5858 | 4.3066 | 5.3954
62 |  |  |  | 57.5858 | 4.3066 | 5.3954
64 |  |  |  | 57.5858 | 4.3066 | 5.3954
66 |  |  |  | 57.5858 | 4.3066 | 5.3954
68 |  |  |  | 57.5858 | 4.3066 | 5.3954
70 |  |  |  | 57.5858 | 4.3066 | 5.3954
72 |  |  |  | 57.5858 | 4.3066 | 5.3954
74 |  |  |  | 57.5858 | 4.3066 | 5.3954
76 |  |  |  | 57.5858 | 4.3066 | 5.3954
78 |  |  |  | 57.5858 | 4.3066 | 5.3954
80 |  |  |  | 57.5858 | 4.3066 | 5.3954
82 |  |  |  | 57.5858 | 4.3066 | 5.3954
84 |  |  |  | 57.5858 | 4.3066 | 5.3954
86 |  |  |  | 57.5858 | 4.3066 | 5.3954
88 |  |  |  | 57.5858 | 4.3066 | 5.3954
90 |  |  |  | 57.5858 | 4.3066 | 5.3954
92 |  |  |  | 57.5858 | 4.3066 | 5.3954
94 |  |  |  | 57.5858 | 4.3066 | 5.3954
96 |  |  |  | 57.5858 | 4.3066 | 5.3954
98 |  |  |  | 57.5858 | 4.3066 | 5.3954
100 |  |  |  | 57.5858 | 4.3066 | 5.3954
|  |  |  | 57.5858 | 4.3066 | 5.3954
57.5858